## Sheet
Asset ID | Equipment Name | Location | Frequency | Last Service Date | Next Due Date | Service Provider | Estimated Cost | Status | Notes
MT-001 | HVAC System | Roof - Main Building | Quarterly | 2023-11-15 | 2024-02-15 | City Cooling Co. | $450.00 | Scheduled | Filter replacement due
MT-002 | Fire Extinguishers | Floor 1-5 (All corridors) | Annual | 2023-05-10 | 2024-05-10 | SafeGuard Inc. | $200.00 | Completed | Certification updated
MT-003 | Backup Generator | Rear Parking Garage | Monthly | 2024-01-05 | 2024-02-05 | PowerPro Services | $150.00 | Pending | Check fuel levels
MT-004 | Elevator Unit A | Main Lobby | Semi-Annual | 2023-08-20 | 2024-02-20 | Vertical Lift Corp | $800.00 | Overdue | Waiting for parts
MT-005 | Industrial Boiler | Basement - Room 12 | Annual | 2023-12-01 | 2024-12-01 | HotWater Tech | $1,200.00 | Completed | Annual pressure test passed