## Sheet
Asset ID | Equipment Name | Maintenance Task | Frequency | Last Service Date | Next Service Date | Assigned Technician | Status | Notes
HVAC-001 | Central Air Unit | Filter Replacement | Quarterly | 2023-10-15 | 2024-01-15 | John Doe | Scheduled | Check coolant levels
GEN-042 | Backup Generator | Oil & Filter Change | Bi-Annually | 2023-08-20 | 2024-02-20 | Jane Smith | Completed | Tested under load
LIFT-11 | Service Elevator | Safety Inspection | Monthly | 2023-11-01 | 2023-12-01 | Vertical Tech Inc. | Overdue | Contact vendor for rescheduling
FIRE-09 | Fire Extinguishers | Pressure Check | Annually | 2023-05-12 | 2024-05-12 | Safety First Co. | Current | All zones inspected
COMP-05 | Air Compressor | Belt Inspection | Weekly | 2023-11-06 | 2023-11-13 | Mike Ross | Pending | Listen for unusual noise