## Sheet
Maintenance Task | Category | Frequency | Last Performed | Next Due Date | Estimated Cost | Status | Notes / Location
Replace HVAC Filters | HVAC | Quarterly |  |  | $20.00 |  | Main unit in hallway closet
Clean Gutters | Exterior | Bi-Annually |  |  | $0.00 |  | Check downspouts for blockages
Test Smoke & CO Detectors | Safety | Monthly |  |  | $0.00 |  | Replace batteries annually
Flush Water Heater | Plumbing | Annually |  |  | $0.00 |  | Refer to manufacturer manual
Inspect Roof and Shingles | Exterior | Annually |  |  | $0.00 |  | Look for missing or damaged shingles
Service AC System | HVAC | Annually |  |  | $150.00 |  | Professional inspection
Check Sump Pump | Plumbing | Quarterly |  |  | $0.00 |  | Ensure float moves freely
Seal Granite Countertops | Interior | Annually |  |  | $30.00 |  | Kitchen and bathrooms